Manual Controls:

Left click: Set P1/Onset

Right click: Set P2/Offset

Enter: Accept all trials (closing figure window will also do this)

Delete or Backspace: Remove peaks from current trial

Left/Right arrow: Cycle backward/forward through trials

Escape: Quit analysis