**Figure Controls:**

Left click: Set P1/Onset

Right click: Set P2/Offset

Enter: Accept all trials (closing figure window will also do this)

Delete: Remove peaks from current trial

Backspace: Toggle flag for baseline movement detection

Left/Right arrow: Cycle backward/forward through trials

Scroll Up/Down: Cycle backward/forward through trials

Escape: Quit analysis